## Sheet1
Name/Business | Add. where Generator is installed: | Main/Standby | Prime Mover | Date of Install. | Manufacturer | KVA | Phase | Freq. | Output Volt. | Fuel | Est. Cost/kWh (EC$) | KWh Generated/Mth | Av. Fuel Cons/Mth (gals) | Av. Oper. Hrs./Mth | How/Where Generator is housed: | How/Where fuel is stored | Vol. of fuel storage | Lubricating oil disposal | Emmission control device | Noise control device | Environmental Mgmt Plan | Gov't Electrical Inspection | Date
01. Roseau Co-operative Credit Union | 31-35 Independence St, Roseau | Standby |  |  | Kotolight | 337.5 KVA | 3 Phase | 50 Hz | 400 | Diesel |  |  |  |  | Self contained sound proof shed | In base tank of generator | 750 gals | It is taken away by the service engineer | Critical grade exhaust system | Residential grade sound-proof canopy | No | Yes | 2010-09-04
02. Roseau Co-operative Credit Union | Upper Grt Marlborough St, Roseau | Standby |  |  | Kotolight | 112.5 KVA | 3 Phase | 50 Hz | 400 | Diesel |  |  |  |  | Self contained sound proof shed | In base tank of generator | 750 gals | It is taken away by the service engineer | Critical grade exhaust system | Residential grade sound-proof canopy | No | Yes | 2010-09-04
03. Fort Young Hotel | Victoria Street, Roseau | Main Source |  | 2005-05-01 | FG Wilson | 400 KVA | 3 Phase | 50 Hz | 400/230 | Diesel | 1.28 | 83920 KWh | 2600 gal | 42000 hrs | Super silent metal enclosure at southern end of property | In 3 tanks | 3000 gal | Taken away by gabbage disposal personnel |  | Silent housing enclosure & exhaust silencer | No | No | 2010-09-04
04. Fort Young Hotel | Victoria Street, Roseau | Main Source |  | 2005-08-01 | FG Wilson | 400 KVA | 3 Phase | 50 Hz | 400/230 | Diesel | 1.28 | 83920 KWh | 2600 gal | 42000 hrs | Super silent metal enclosure at southern end of property | In 3 tanks | 3000 gal | Taken away by gabbage disposal personnel |  | Silent housing enclosure & exhaust silencer | No | No | 2010-12-04
05. Fine Foods Inc., Picard Portsmouth | KFC Cnr Hanover St & River Bank | Standby |  |  | F.G. Wilson | 150 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | Second floor of building | In unit's built in tank | ? | It is taken to Auto Trade Ltd | None | Unit housing is sound proof |  |  | 26/3/2010
06. Fine Foods Inc., Riverbank Roseau | Jimmit | Standby |  |  | FG Wilson | 300 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | Behind main building in enclosed unit | In built in unit | 40 gal | Auto Trade Ltd | None | Unit housing is sound proof |  |  | 26/3/2010
07. Inland Revenue Division | High Street, Roseau | Standby |  |  | FG Wilson | 120 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | In concrete enclosed structure to the rear of the building | In metal sealed drum | 50-60 gal |  | Muffler/baffle | Muffler/baffle build in with extended piping to the roof | No |  | 30/3/2010
08. Dowasco | Giraudel | Standby |  |  | Generic Power Sys | 180 KVA | 3 Phase | 50 Hz | 231/400 | Diesel |  |  | 920 gal | 112 hrs | In enclosed room | In 45 gal barrels | 235 gal | In 45 gal barrels | None | Just the silencer that comes with the generator | No | No | 29/3/2010
09. Dowasco |  | Standby |  |  | Generic Power Sys | 180 KVA | 3 Phase | 50 Hz | 231/400 | Diesel |  |  | 920 gal | 112 hrs | In an enclosed room | In 45 gal barrels | 235 gal | In 45 gal barrels | None | Silencer that comes with the generator | No | No | 29/3/2010
10. Dowasco | Baytown | Standby |  |  | Caterpilla 2000 | 205 KVA | 3 Phase | 50 Hz | 400 | Diesel |  |  | 90 gal | 32 hrs | In enclosed room | In 45 gal barrels | 235 gal | In 45 gal barrels | None | Silencer that comes with the generator | No | No | 29/3/2010
11. Dowasco | Newtown | Standby |  |  | Olympian 2000 | 156.3 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  | 90 gal | 32 hrs | In enclosed rooms | In 45 gal barrels | 235 gal | In 45 gal barrels | None | Silencer that comes with the generator | No | No | 29/3/2010
12. Dowasco | Goodwill Road | Standby |  |  | Olympian 2000 | 93.8 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  | 90 gal | 32 hrs | In enclosed rooms | In 45 gal barrels | 235 gal | In 45 gal barrels | None | Silencer that comes with the generator | No | No | 29/3/2010
13. Dowasco | High Street, Roseau | Standby |  |  | FG Wilson 2001 | 72.16 KVA | 3 Phase | 60 Hz | 22/127 | Diesel |  |  | 90 gal | 32 hrs | In enclosed rooms | In 45 gal barrels | 235 gal | In 45 gal barrels | None | None, just the silencer that comes with the generator | No | No | 29/3/2010
14. H.H.V. Whitchurch & Co. Ltd. | Drurs Lane, Roseau | Standby |  |  | FG Wilson | 250 KVA | 3 Phase | 50 Hz | 380/415 | Diesel |  |  |  | 10 hrs | Within main office | Separate tank located at sites | 500 gal | In storage | Built in | Muffler | Yes | Yes | 30/3/2010
15. H.H.V. Whitchurch & Co. Ltd. | Distribution Centre, Canefield | Standby |  |  | FG Wilson | 135 KVA | 3 Phase | 50 Hz | 380/415 | Diesel |  |  |  | 10 hrs | Separate shed at Distribution centre | Separate tank located at sites | 500 gal | In storage | Built in | Muffler | Yes | Yes | 30/3/2010
16. La Flamboyant Hotel | 22 King George V St, Roseau | Standby |  | 2008 | FG Wilson | 50 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | At the back of building | Base tank | Nil | Service man | Extended pipe | Sound attenuated canopy | No | Yes | 29/3/2010
17. Dominica Broadcasting Corporation | Victoria Street, Roseau | Standby |  |  | Dale | 47 KVA | 3 Phase | 50 Hz | 220 | Diesel |  |  |  |  | Building | Tank at studio building | 500 | [5 empty] | 19/3/2010
18. JOLLY's Pharmacy | 12 King George V Street, Roseau | Standby |  | 2004 |  | 180 KVA | 3 Phase | 50 Hz | 240 | Diesel | [6 empty] | 425 gal | [5 empty] | 29/3/2010
19. Dominica Social Security | Cnr Hanover & Hilsborough St | Standby |  |  | Perkins | 225 KVA | 3 Phase | 50 Hz |  | Distilled |  |  |  |  | Closed ventilated room | Sealed metal tank in gen. room | 450 gal | In drums | Exhaust on top of roof | None |  |  | 24/3/2010
20. Dominica Essential Oils & Spices | Petite Savanne, St. Patrick | Standby |  |  | Broad Crown | 39 KVA | 3 Phase | 60 Hz | 220 | [5 empty] | In a closed box and housed in a storage shed | Same location as generator | 1/2 drum per year | Recycled in bailer | None | Closed box sound proof | No | No | 17/3/2010
21. All Nations Bar | 52 Victoria Street, Roseau | Standby |  |  | Broad Crown | 30 KVA | 3 Phase | 50 Hz | 400/230 | [5 empty] | In generation room on compound | In generation room | 5 gal | Land fill |  | Sound proof canopy | None | ACP | 18/3/2010
22. MAM's Company Ltd. | Checkhall, Massacre | Standby | Self | 2006 | Perkins | 240 KVA | 3 Phase | 50 Hz | 240/460 | Diesel |  |  |  |  | At the back of the supermarket | self contained tank | 55 gal | Barrel | Exhaust | Muffler to roof | Landale Jolly | No | 23/3/2010
23. Dominica Coconut Products | Belfast Main Road | Main Source |  | 1989-04-28 | Cummins | 900 KVA | 3 Phase | 50 Hz | 400 | Diesel | 1 | 7000 KWh | 9500 gal | 480 hrs | Generation building | Above ground storage tanks | 1200 barrels | Burnt as boiler fuel |  |  | Yes | Yes | 18/2/2010
24. Dominica Coconut Products | Belfast Main Road | Main Source |  | 1990-01-01 | Ford | 33 KVA | 3 Phase | 50 Hz | 220 | Diesel |  |  |  | 0 | in generation building | Above ground storage unit | 1200 barrels | Burnt as boiler fuel |  |  | Yes | Yes | 18/2/2010
25. Dominica Coconut Products | Belfast Main Road | Main Source |  | 1980-01-01 | Mercedes | 325 KVA | 3 Phase | 50 Hz | 415 | Diesel |  |  |  | 20 hrs | in generation building | Above ground storage tanks | 1200 barrels | Burnt as boiler fuel |  |  | Yes | Yes | 18/2/2010
26. Dominica Coconut Products | Belfast Main Road | Main Source |  | 1997-01-01 | Blackstone | 1000 KVA | 3 Phase | 50 Hz | 1100 | Diesel |  |  |  |  | in generation building | Above ground storage tanks | 1200 barrels | Burnt as boiler fuel |  |  | Yes | Yes | 18/2/2010
27. Harris Paints | Canefield Industrial Estate | Standby |  | 2000-06-18 | F.G. Wilson | 150 KVA | 3 Phase | 50 Hz | 220 | Diesel |  |  |  |  | Outside of factory under a ventilated roof | 12 ft from generator in fenced area | 300 gal | In drums & disposed at landfill | Catalytic converter in conjunction with EGR system | Weather proof enclosure/sound attenuated | No | No | 15/4/2010
28. Auto Trade Limited | Canefield | Standby |  | 2004-04-30 | Perkins | 190 KVA | 3 Phase | 50 Hz | 160000 | Diesel | 129000 |  | 20 gal | 4 hrs | In enclosed shed with protective cover | In fuel storage tank | 40 gal | In 55 gal drums, sealed and disposed in landfill | Exhaust silencer installed on it | Gen is located in enclosed concrete house | No | Yes but got lost | 30/3/2010
29. H. H. Wilson & Co. Ltd. | 19 Elliot Lane, Potttersville | Standby |  | 2002-08-01 | Perkins | 77 KVA | 3 Phase | 60 Hz | 240 | Diesel | $10-$14 |  | 2 gal | 3 hrs | Covered area | Tank | 45 gal | Land fill | None | Silencer | No | No | 2010-12-05
30. LIME | Hanover Street, Roseau | Standby | Engine | 1997-10-01 | Keith Dawson | 380 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 560000 KWh | 1500 gal | 200 hrs | Engine room | Underground fuel tank | 4000 gal | Stored in drums for future disposal by Solid Waste | Long extended exhaust system | Acoustic attenuators on air intake & air discharge vents |  |  | 27/5/2010
31. LIME | Hanover Street, Roseau | Standby | Engine | 2006-03-01 | Pramac | 400 KVA | 3 Phase | 50 Hz | 415 | Diesel | 0 | 400 KWh | 5.4 gal | 1 hr | Engine room | Underground fuel tank | 400 gal | Collected in drums and sent to Solid Waste when full |  | Acoustic attenuator |  |  | 27/5/2010
32. LIME | Sugarloaf, Porstmouth | Standby | ENgine | 2004-07-01 | Pramac | 70 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 3360 KWh | 48 gal | 60 hrs | Engine room | Outdoor fuel tank | 300 gal | Stored in drums and passed to Solid Waste when full | Long extended exhaust system | Enclosed concrete walls |  |  | 27/5/2010
33. LIME | River Estate, Canefield | Standby | Engine | 2009-01-01 | FG Wilson | 150 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 150 KWh | 3 gal | 1 hr | Acoustic canopy | In 45 gal base tank | 45 gal | Stored in 45 gal drum and taken to Solid Waste when full |  | Acoustic attenuators |  |  | 27/5/2010
34. LIME | River Estate, Canefield | Standby | Engine | 1999-08-01 | G&M Power | 75 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 5400 KWh | 216 gal | 72 hrs | Engine room | Outdoor fuel tank | 400 gal | Stored in drums and passed to Solid Waste when full | None | Enclosed concrete walls |  |  | 27/5/2010
35. LIME | River Estate, Canefield | Standby | Engine | 2006-07-01 | FG Wilson | 70 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 70 KWh | 0.5 gal | 1 hr | Acoustic canopy | Base tank | 45 gal | Stored in drums, sent to Solid Waste | None | Acoustic canopy |  |  | 27/5/2010
36. LIME | River Estate, Canefield | Standby | Engine | 2000-12-01 | American Gertech | 35 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 35 KWh | 0.5 gal | 1 hr | Acoustic canopy | Base tank | 15 gal | Stored in drums, taken to Solid Waste when full |  | Acoustic canopy |  |  | 27/5/2010
37. LIME | LIME Facility, Sim Sim | Standby | Engine | 1989-04-01 | Shannon Power | 25 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 3000 KWh | 30 gal | 120 hrs | Engine room | Indoor fuel tank | 250 gal | Stored in drum, taken to Sokid Waste when full | Extended exhaust | Enclosed concrete walls |  |  | 27/5/2010
38. LIME | LIME Facility, Sim Sim | Standby | Engine | 2007-04-01 | FG Wilson | 50 KVA | 3 Phase | 50 Hz | 415 | Diesel |  | 50 KWh | 0.5 gal | 1 hr | Engine room | Indoor fuel tank | 250 gal | Stored in drum, taken to Sokid Waste when full | Extended exhaust | Eclosed concrete wall |  |  | 27/5/2010
39. The Bishop of Roseau | Turkey Lane, Roaseau | Standby |  | 1997 | Somo HS 60 | 60 KVA | 3 Phase | 50 Hz | 380 | Diesel |  |  |  |  | In corner on compound | In fuel tank next to generator | 1000 gal |  |  | Silent generator type |  | Yes | 2010-01-03
40. St. Clement Redemptorist | Belfast | Standby |  | 2001 | John Deere | 60 KVA | 3 Phase | 50 Hz | 380 | Diesel |  |  |  |  | In generator house on compound | In small tank | 200 litres |  |  | Silent type |  | Yes | 2010-05-03
41. Leader Company Ltd | Rock-away, Canefield | Standby |  | 2001 |  | 60 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | Within four walls and a locked door |  | 5 gal | Taken away by maintenance man | Manufacturer installed | No additional noise control required | No | No | 2010-04-05
42. COURTS Dominica Ltd | Castle Comfort | Standby |  | 2004-03-01 | Forest City | 40 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  | 2-5 gal | 3-8 hrs | Castle Comfort | Within the unit | Approx 20 gal | Disposed of by Auto Trade Ltd. |  | External muffler | No |  | 26/5/2010
43. G&A Enterprises | Picard, Portsmouth | Standby |  | 2004-04-30 | FG Wilson | 50 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  | 25 gal | 20 hrs | Overhead cover | Storage room | 20 gal | Land fill | Built in | Built in | No | No | 25/5/2010
44. Josephine Gabriel & Co. Ltd. | Valley Road, Roseau | Standby |  |  | FG Wilson | 40 KVA | 3 Phase | 50 Hz | 230/400 | Diesel | [5 empty] | Base tank |  |  | Built in (within the unit) | None | No |  | 29/3/2010
45. Josephine Gabriel & Co. Ltd. | Valley Road, Roseau | Standby |  | 1990 | JF Generation | 325 KVA | 3 Phase | 50 Hz | 415 | Diesel | [5 empty] | Base tank |  |  | Built in (within the unit) | None | No |  | 29/3/2010
46. Raffoul & Co. Ltd | 4 St Johnston Avenue | Standby |  | 1981 | Perkin | 50 KVA | 3 Phase | 50 Hz | ? | Diesel |  |  |  |  | Open shed | Under generator build in tank | 50 gal | Service man takes it away |  |  | No | No | 2010-02-06
47. Portsmouth Beach Hotel | Ross Blvd, Picard, Porstmouth | Standby |  | 2005-03-01 | FG Wilson | 249 KVA | 3 Phase | 60 Hz | 220 | Diesel |  |  |  |  | Stand alone housing away from strutures | Near generator in 45 gal drums | 90 gal | Dominica Solid Waste |  | Generator equipped with build in silencer | No | Yes | 26/3/2010
48. JAS Garraway | 19 Old Street, Roseau | Standby |  |  | Country Man | 75 KVA | 3 Phase | 50 Hz | 440 | Diesel |  | Fluctuates | 33 | Fluctuates | On the ground floor of the premises | In a tank on upper floor level | 400 gal | Stored in diesel drum | Exhaust pipes empty into chimney | None | No | ? | 2010-05-06
49. Garraway Appartel Co. Ltd. | Dame Eugenia Charles Blvd | Main; St By |  | 1993-12-24 | FG Wilson | 220 KVA | 3 Phase | 50 Hz | 380-415 | Diesel | 5.78 |  | 800 | 240 | Garraway Hotel | Fuel tanks | 500-1000 gal | Dominica Solid Waste | Exhaust mufflers | Sound proof generator room | Yes | Yes | 2010-06-07
50. Garraway Appartel Co. Ltd. | Dame Eugenia Charles Blvd | Main; St By |  | 2007-07-25 | FG Wilson | 200 KVA | 3 Phase | 50 Hz | 380-415 | Diesel | 5.75 | 1440 KWh | 800 | 240 | Garraway Hotel | Fuel tanks | 500-1000 gal | Dominica Solid Waste | Exhaust mufflers | Sound proof enclosure | Yes | Yes | 2010-06-07
51. Anchorage Ltd | Castle Comfort | Standby |  | 1979 | Perkin | 72 KVA | Single | 60 Hz | 220 | Diesel |  |  | Approx 100 gal | 20 + hrs | In generator room | 300 gal | In generator house | Used for termite treatment | None (Does DOMLEC? :-)) | Muffler system quiet | No |  | 25/6/2010
52. Hayden's Supermarket | 37 Goodwill Road, Pottersville | Standby |  |  |  | 25KVA | 3 Phase | 50 Hz | [6 empty] | In back yard of Supermarket | [7 empty] | 2010-06-07
53. Greens Wholesale Ltd. | 17 Hanover Street, Roseau | Standby |  | 2000 | FG Wilson | 68 KVA | 3 Phase | ? | 220/400 | Diesel |  |  |  |  | Upper end of building | On roof in drums | 45 gal | Land fill | Exhaust pipe | Muffler; is housed in building on roof top | No |  | 2010-06-07
54. Greens Wholesale Ltd. | Wall House | Standby |  | 2009 | FG Wilson | 68 KVA | 3 Phase | ? | 220/400 | Diesel |  |  |  |  | In a shed next to the building | In the tank |  | In the land fill | Exhaust system | None apart from muffler | No |  | 2010-06-07
55. Malcolm Stephen & Sons Ltd. | St. Johnson Avenue, Roseau |  |  | 2006-09-02 | FG Wilson | 250 KVA | 3 Phase | 50 Hz | 200 KW | Diesel | Cost varies | Cost varies | Cost varies | N/A | Under shed | Generator has own storage | 40 gal | Service man disposes the oil |  | Sound proof canopy | No | No | 14/7/2010
56. Malcolm Stephen | St. Aroment, Goodwill |  |  | 2010-07-10 | FG Wilson | 56 KVA | 3 Phase | 60 Hz | 46.4 KW | Diesel | Cost varies | Cost varies | Cost varies | N/A | Under shed | Generator has own storage | 40 gal | By service personnel |  |  | No | No | 14/7/2010
57. Malcolm Stephen | Rock-away, Canefield |  |  | 2002-06-07 | FG Wilson | 60 KVA | 3 Phase | 50 Hz | 48 KW | Diesel | Cost varies | Cost varies | Cost varies | N/A | Under shed | Generator has built in tank | 90 gal | Service man disposes the oil |  | Sound proof canopy | No | No | 14/7/2010
58. Dominica Brewery & Beverages Ltd. | Fond Baron, Snug Corner | Standby |  | 1995 | MAN | 250 KVA | 3 Phase | 50 Hz | 400 V | Diesel |  | 600 KWh | 400 gal | 15 hrs | Semi-closed room at the plant | Tanks in same location | 100 gal | Collected in drums | None |  | No | No | 14/7/2010
59. Dominica Brewery & Beverages Ltd. | Fond Cole Industrial Site | Standby |  | 2008-03-01 | Perkins | 75 KVA | Single | 50 Hz | 400/230 V | Diesel |  |  |  | 5 hrs | Fully enclosed sound proof area | Tank beneath generator | 35 gal | Collected in drums & taken to landfill | None | Sound proof | No | No | 14/7/2010
60. Club DVD | Marigot |  |  |  | FG Wilson | 110 KVA | 3 Phase | 50 Hz | 230 V | Diesel | 15000 |  |  | 10 hrs |  |  |  | Solid waste |  |  |  |  | 2010-01-08
61. Club DVD | Marigot |  |  |  | FG Wilson | 250 KVA | 3 Phase | 50 Hz | 230 V | Diesel | 26000 |  |  | 8 hrs |  |  |  | Solid waste |  | Silent housing |  |  | 13/8/2010
62. J Astaphan & Company Ltd. | St. Aroment, Goodwill | Standby |  |  | FG Wilson | 27 KVA | 3 Phase | 50 Hz | 380-415 | Diesel |  |  |  |  | Covered shed on premises | In approved drums on premises | 90 gal | In drums & disposed at landfill | Compliant with EU emmission legislation | Silencer and custom designed housing |  | Yes | 20/7/2010
63. J Astaphan & Company Ltd. | Canefield Industrial Estate | Standby |  |  | FG Wilson | 250 KVA | 3 Phase | 50 Hz | 230-400 | Diesel |  |  |  |  | In separate covered shed on premises | Fuel stored in a tank |  | In drums & disposed at landfill | Compliant with EU emmission legislation | Custom desinged housing |  | Yes | 20/7/2010
64. J Astaphan & Company Ltd. | Fond Cole Industrial Site | Standby |  |  | FG Wilson | 60 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | In separate covered shed on premises | Plastic fuel tank on premises | 250 gal | In drums & disposed at landfill | Compliant with EU emmission legislation | Silencer and custom designed housing |  | Yes | 20/7/2010
65. J Astaphan & Company Ltd. | St. Aroment, Goodwill |  |  |  | FG Wilson | 22 KVA | 3 Phase | 50 Hz | 380-415 | Diesel |  |  |  |  | In separate covered shed on premises | In approved drums in gen shed | 90 gal | In drums & disposed at landfill | Compliant with EU emmission legislation | Silencer and custom designed housing |  | Yes | 20/7/2010
66. J Astaphan & Company Ltd. | Canefield Industrial Estate | Standby |  |  | FG Wilson | 100 KVA | 3 Phase | 50 Hz | 380-410 | Diesel |  |  |  |  | Generator is currently not in use | In tank on premises |  | In drums & disposed at landfill | Compliant with EU emmission legislation | Silencer and custom designed housing |  | Yes | 20/7/2010
67. J Astaphan & Company Ltd. | 65 King George St, Roseau | Standby |  |  | FG Wilson | 300 KVA | 3 Phase | 50 Hz | 240 | Diesel |  |  |  |  | In generator room on premises | In a tank on premises | 500 gal | In drums & disposed at landfill | Compliant with EU emmission legislation | Silencer and custom designed housing |  | Yes | 20/7/2010
68. SAT Telecommunications Ltd. | 20 Bath Road, Roseau | Standby |  |  | FG Wilson | 65 KVA | Single | 50 Hz | 230 | Diesel |  | 520 | 10 gal | 8-16 hrs | In generator house | In generator house | 5 gal | In landfill | Exhaust silencer system | Silencer | No | No | 31/8/2010
69. First Caribbean International Bank | Old Street,Roseau | Standby | Standby | 1995 | Perkins Engine | 200 KVA | 3 Phase | 50 Hz | 400/250 | Diesel | 450 | 200 KWh | 25 gal | 8 hrs | In generator room at top of building | In generator room | 500 gal | At the landfill | N/A | Seal off | N/A |  | 16/7/2010
70. First Domestic Insurance Company | 19-21 King George V St Roseau | Standby |  | 2008-03-01 | FG Wilson | 165 KVA | 3 Phase | 50 Hz | 220/127 | Diesel | 25 | 5 KWh | 20 gal | 5 hrs | At the back with access on Field's lane | In drums on site | 45 gal | Removed form site in sealed containers |  | Silencer | In progress | Yes | 24/8/2010
71. The Redemptorist of Dominica | Eggleston | Standby |  | 1997 | Perkins | 60 KVA | 3 Phase | 50 Hz | 380 V | Diesel |  |  |  |  | In generator house on compound | In fuel tank | 1000 gal |  |  | Silent type |  |  | 25/6/2010
72. MARPIN 2K4 Ltd. | Grt Marlborough St, Roseau | Standby |  |  | FG Wilson | 250 KVA | 3 Phase | 50 Hz | 400/230 V | Diesel |  |  |  |  | Outside, unsheltered | In two 45 gal barrels (for now) | Approx 90 gal | In 45 gal barrels |  | Mounted in a building that reduces noise; acoustic weather proof enclosure | No | Yes | 23/6/2010
73. MARPIN 2K4 Ltd. | Morne Daniel | Standby |  |  | FG Wilson | 250 KVA | 3 Phase | 50 Hz | 400/230 V | Diesel |  |  |  |  | Outside, unsheltered | In two 45 gal barrels (for now) | Approx 90 gal | In 45 gal barrels |  | Mounted in a building that reduces noise; acoustic weather proof enclosure | No | Yes | 23/6/2010
74. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2004 | John Deere | 937.5 KVA | 3 Phase | 50 Hz | 415 V | Diesel | 0.67 | 117000 KWh | 1560 gal | 156 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
75. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2001 | John Deere | 437.5 KVA | 3 Phase | 50 Hz | 415 V | Diesel | 0.67 | 54600 KWh | 1000 gal | 156 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
76. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2001 | John Deere | 437.5 KVA | 3 Phase | 50 Hz | 415 V | Diesel | 0.67 | 54600 KWh | 1000 gal | 156 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
77. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2006 | John Deere | 437.5 KVA | 3 Phase | 50 Hz | 415 V | Diesel | 0.67 | 5250 KWh | 400 gal | 15 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
78. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2004 | John Deere | 60 KVA | 3 Phase | 50 Hz | 415 V | Diesel | 0.67 | 720 KWh | 250 gal | 15 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
79. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2007 | John Deere | 33 KVA | 3 Phase | 50 Hz | 415 V | Propane | 0.67 | 130 KWh | 30 lbs | 5 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
80. ROSS University School of Medicine | Picard, Portsmouth | Standby |  | 2010 | John Deere | 562.5 KVA | 3 Phase | 50 Hz | 415 V | Diesel | 0.67 | Not in operation | Not in operation | 5 hrs | Under concrete roof structure, enclosed canopy outside | Main campus storage underground, other above ground | 11000; 1000; 1000 gal | We store most in 45 gal drums |  | Two are enclosed in a sound attenuated canopy |  | Yes | 20/7/2010
81. P.H Williams & Co. (1979) Ltd. | Les Pointe, Massacre #1 | Main Source |  | 1991-05-01 | Caterpillar | 680 KVA | 3 Phase | 50 Hz | 460 V | Diesel | 0.7 | 153000 KWh | 3000 gal | 180 hrs | Galvanized shed with concrete floor | Metal tanks outside generator shed | 600 gal | Collected in drums and sent to landfill |  | Silencer |  |  | 2010-07-10
82. P.H Williams & Co. (1979) Ltd. | Les Pointe, Massacre #2 | Main Source |  | 1991-05-01 | Caterpillar | 680 KVA | 3 Phase | 50 Hz | 460 V | Diesel | 0.7 | 90000 KWh | 2640 gal | 180 hrs | Galvanized shed with concrete floor | Metal tanks outside generator shed | 600 gal | Collected in drums and sent to landfill |  | Silencers |  |  | 2010-07-10
83. P.H Williams & Co. (1979) Ltd. | Anse Gabriel, Colihaut | Main Source |  |  | Caterpillar | 680 KVA | 3 Phase | 50 Hz | 460 V | Diesel | 0.7 | 153000 KWh | 2500 gal | 180 hrs | Open shed with concrete floor | Metal tanks outside generator shed | 600 gal | Collected in drums and sent to landfill |  | Silencer |  |  | 2010-07-10
84. Redi-Mix Concrete Ltd. | Canefield Industrial Site | Standby |  | 2009 | Somo | 60 KVA | 3 Phase | 50 Hz | 440 V | Diesel |  |  |  |  | Shed | Generator tank | 30 gal | Land pit |  | Muffler/Sound attenuated |  |  | 2010-07-10
85. Redi-Mix Concrete Ltd. | Grand Savanne | Standby |  | 2008 | Broad Crown | 80 KVA | 3 Phase | 50 Hz | 440 V | Diesel |  |  |  |  | Shed | Generator tank | 30 gal | Land pit |  | Muffler/Sound attenuated |  |  | 2010-07-10
86. Caribbean Construction & Dev. | Bagging Plant, Rock-away, Canefield | Standby |  | 1985 | Caterpillar | 275 KVA | 3 Phase | 50 Hz | 400 V | Diesel | 93 | 4000 KWh | 96 gal | 16 hrs | Generator room attached to the Bagging Plant | Fuel storage room | 250 gal | Stored in drums and transported to solid waste | Exhaust muffler system | Exhaust muffler system | No | No | 2010-12-10
87. Springfield Trading Ltd. | Goodwill Road, Roseau | Standby |  | 2000 | FG Willson | 65 KVA | 3 Phase | 50 Hz | 52 KW | Diesel |  |  |  |  | Goodwill Road on Company's compound | On compound | One 45 gallon drum | Disposed by Service Technician | Exhaust pipe | Super Silenced | No | Yes | 28/06/2010
88. E.H. Charles & Co. Ltd. | Goodwill Road, Roseau | Standby |  |  | Baranite Ltd. | 60 KVA | 3 Phase | 50 Hz | 440 V | Diesel |  |  |  | 8-10 hrs | In an area built on the premises on Goodwill Road | In a fuel tank located at River Estate | 1000 gal |  | Exhaust system |  | None |  | 26/10/2010
89. E.H. Charles & Co. Ltd. | River Estate, Dominica | Standby |  |  | Baranite Ltd. | 60 KVA | 3 Phase | 50 Hz | 440 V | Diesel |  |  |  | 8-10 hrs | In an area built on the premises at River Estate | In a fuel tank | 1000 gal |  | Exhaust system |  | None |  | 26/10/2010
90. E.H. Charles & Co. Ltd. | Picard, Dominica | Standby |  |  | Baranite Ltd. | 150 KVA | 3 Phase | 50 Hz | 440 V | Diesel |  |  |  |  | In an area built on the premises at Picard |  |  |  | Exhaust system |  | None |  | 26/10/2010
91. E.H. Charles & Co. Ltd. | Fond Cole, Dominica | Standby |  |  | Baranite Ltd. | 62.5 KVA | 3 Phase | 50 Hz | 440/230 V | Diesel |  |  |  | 8-10 hrs | In an area built on the premises at Fond Cole | In a fuel tank located at River Estate | 1000 gal |  | Exhaust system |  | None |  | 26/10/2010
92. MINIYA'S Company Ltd. | Canefield | Standby |  | 2010-08-20 | FG Wilson P40P2 | 40 KVA | 3 Phase | 50 Hz | 400/230 V | [5 empty] | Within a metal housing next to building | As part of the generator housing | US 46 gal | Tech deals with this (has not been changed) |  |  | No |  | 2011-01-03
93. Fine Foods Inc., KFC Roseau | KFC Cnr Hanover St & River Bank | Standby |  |  | F.G. Wilson | 400 KVA | 3 Phase | 50 Hz | 400/230 | Diesel |  |  |  |  | Second floor of building | In unit's built in tank |  | It is taken to Auto Trade Ltd | None | Unit housing is sound proof |  |  | 26/3/2010
94. O. D Brisbane & Sons | Canefield Industrial Estate | Partial Generation | N/A | 2011-12-01 | Inverter SMA | 50.7 | 3 Phase | 50Hz | 230/400 | Solar | [5 empty] | Solar power | N/A | N/A | N/A | N/A |  |  | 21/11/11
95. Maxwell Inc | Jimmit Highway | Standby |  | 2012-01-10 | FG Wilson | 30 | 3 Phase | 50 | 380/220 | Deisel |  | 24 |  | 4 | constructed generator room | 50 Feet from generator | 90-100 Gallons | Will comply with Regulatory procedures | Extented exhaust muffler system
96.Theophille Honore Apartments | Ross University Picard Portsmouth | Standby |  | 2012-01-08 | Armstrong Power | 113 | 3 phase | 50 | 240/415 | Deisel |  |  | 3 | 2 | Back of Apartment below decked roof | no storage |  | will be determined by the mechanic |  | silencer | none | yes | 2012-04-03
97. Royal Bank of Canada | Bay Front, Roseau | Standby |  |  | Olympia GEP150 | 135 | 3 phase | 50 | 230/400 | Diesel
98. Gospel Broadcasting Corporation | Madrelle, Loubiere | Standby |  | 1993-06-01 | Lister Petter | 22 | 3 phase | 50 | 127/220 | Diesel |  | 17.6 | 20 gal | 2.5 | on compound separate housing | In Tank | 180 | covered with sand next to generator hut | N/A | silencer |  | yes | 2010-01-03
99. Vieille Case cooperative Credit Union | Vieille Case Credit Union | Standby |  | 2004-06-01 | Himoinsa | 24 | 3 phase | 50 | 270 | Diesel
100.Fine Foods Inc. | Jimmit Industrial Area | Standby |  | 0ct-10 | FG Wilson | 250 | 3 phase | 50 | 415 | Diesel |  | 150 | 15 | 2 | out door to the back of building | Built in tank under the generator | 100 gallons | in drums | double baffle exhaust | unit is equipped with noise dampining insulation | no | yes | 23/02/12
101.Fine Foods Inc. | KFC Portsmouth | Standby |  | 0ct-10 | FG Wilson | 250 | 3 phase | 50 | 415 | Diesel |  | 300 | 15 | 2 | under the drive thru | Built -in tank under generator | 100 | in drums | double baffle exhaust | unit is equipped with noise dampining insulation | no | yes | 23/02/12
102.Fine Foods Inc. | KFC Roseau | Standby |  | 0ct-10 | FG Wilson | 250 | 3 phase | 50 | 415 | Diesel |  | 400 | 15 | 2 | Roof on first floor | Built -in tank under generator | 100 | in drums | double baffle exhaust | unit is equipped with noise dampining insulation | no | yes | 23/02/12
103. O. D Brisbane & Sons | Canefield Industrial Estate | Partial Generation | N/A | 2011-12-01 | Inverter SMA | 50.7 | 3 Phase | 50Hz | 230/400 | Solar | [5 empty] | Solar power | N/A | N/A | N/A | N/A |  |  | 14/06/12
104. Anthony & Marlyn Peter | Blanca , Picard Portsmouth | Standby |  | 18/06/12 | MTS Power Product | 50 | 3 Phase | 50 | 240/415 | Diesel | [12 empty] | 21/06/12
105. Go DM Limited | Blanca Heights , Picard Portsmouth | Partial Generation |  | 2012-07-01 | SMA Inverter | 50 | Single | 50 | 4.94kwp | solar |  | 741 |  | 360 | Roof of building | [7 empty] | 15/6/2012
106. Rosali Bay Resort | Rosalie | Partial Generation | N/A |  | SMA inverter | 12 | single | 50 | 230/400 | Solar |  | 1510 |  | 360 | Roof of building | [7 empty] | 19/3/2012
107. Rosali Bay Resort | Rosalie | Partial Generation | N/A |  | SMA inverter | 12 | single | 50 | 230/400 | Solar |  | 1510 |  | 360 | Roof of building | [7 empty] | 19/3/2012
108. Rosalie Bay Resort | Rosalie | Partial Generation | N/A |  | SMA inverter | 15 | single | 50 | 230/400 | Solar |  | 1872 |  | 360 | Roof of building | [7 empty] | 19/3/2012
109. Lime Dominica Ltd | Galba , Petite Savanne | Standby |  |  | Pramac | 27 KVA | SINGLE | 50 | 230V | Diesel |  | 30 | 16.8 | 24 | Sound proof canopy | Inside 300 gal bulk tank | 150 gallons | collected in a drum when filled and taken to the land fill | none | acoustic sound canopy | no | no | 2012-01-06
110. Auto Trade Ltd | Canefield |  | N/A | 2013-04-01 | SAMIL | 60 | 3 phase | 50 | 415 | Solar |  | 10000 |  |  | solar panels on roof | N/A
111. Auto Trade Ltd | Belfast Estate | main source |  | 2013-04-01 | SAMIL | 12 | SINGLE | 50 | 240 | Solar |  | 15000 |  |  | solar panels on roof | N/A
112. Fine Foods Inc | KFC Building, River Bank, Roseau | (Suplemenatry) | N/A | 2013-04-01 | SAMIL | 60 | 3 phase | 50 | 415 | Solar |  | 10000 |  |  | solar panels on roof | N/A
113. DHW Enterprise /Derrick Williams | Ross Boulevad, Picard | Standby |  | 2012-12-12 | MTS Power Product | 100 | 3 phase | 50 | 415/240 | Diesel |  |  | 50 | 12 | Enclosed in separate building | In Tank | 100 U.S gallons | Waste disposal Depot | Exhaust pipe | silencer |  | yes | 2013-05-04
114. Singolla Blomquvist - Williams | Point Mulatre | Partial Generation |  | 2013-06-01 | SMA Inverter | 2.6 | SINGLE | 50 | 230 | Solar | N/A | 312 |  | 360 | Roof | N/A | N/A | N/A | N/A | N/A |  | not yet installed | 2013-11-07
115.Aner Alexander | Rose Hill, Bellvue | main source | N/A | 2013-03-01 | SMA | 10KW | SINGLE | 50 | 230 | Solar | N/A | 660 | N/A | N/A | Roof - Mounted solar panels | N/A | N/A |  | N/A | N/A | N/A | Yes | 2014-11-04
116.Andrew Sawers | Kings Hill | Supp. Solar System | N/A | 2014-03-01 | Daqonew Energy Corp | 5kw | SINGLE | 50 | 220 | Solar | N/A | 800 | N/A | 200 | Panels on roof top | N/A | N/A | N/A | N/A | N/A | N/A | Yes | 2014-05-04
117.Fine Foods Inc | Jimmit | Supp. Solar System | N/A | 2014-03-01 | DAQo Solar System | 30kw | 3 phase | 50 | 420 | Solar | N/A | 200 | N/A | 200 | Solar PV Panels Inverters | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-05-05
118.Nature Island Communication Corp Ltd | constitution Hill, Roseau | supplemen supply | N/A | 2014-03-01 | Daqonew Energy Corp | 10kw | 3 phase | 50 | 420 | solar | N/A | 1600 | N/A | 200 | Panels on roof top | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-05-01
119.Edward Sylvester Royer | Fond Canie | Standby | N/A | 2014-01-01 | Clarke | 5 watts | SINGLE | 50 | 220 | gasoline | _____ | _____ | ____ | ____ | In store room in garden | In store room in garden | 5 gallons | underground | Exhaust and Air induction | None | N/A | yes | 2014-05-01
120.Fine Foods Inc | Jimmit | supplementary | N/A | 2014-07-01 | DAQo Solar System | 60kw | 3 phase | 50 | 400 | Solar | 950000 | 14000 | N/A | 200 | solar pv panels inverters on building | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-11-01
121.Peter & Cathy Lemerle | Gommier | supplementary | N/A | 2014-07-01 | DAQo Solar System | 2kw | SINGLE | 50 | 220 | Solar | 290000 | 150 | N/A | 180 | Solar Pv panels on roof | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-11-01
122.Ronald & Sonia Nestor | Castle Comfort | supplementary | N/A | 2014-09-01 | DAQo Solar System | 3kw | SINGLE | 50 | 220 | Solar | 0.36 | 347 | N/A | 180 | Solar Pv panels on roof | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-11-01
123.P & P Trading | Blanca Road, Picard | standby | N/A | ***** | KINE Suntaems | 3kw | SINGLE | 50 | 240 | solar | _____ | _____ | _____ | _____ | on roof | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-12-01
124. The Family Dental Clinic | 28 Steber Street, Roseau | main source | N/A | 2014-12-01 | DAQO New Energy Corp | 6 | SINGLE | 50 | 230 | Solar | 0.38 | 691 | N/A | 180 | Roof mounted solar pv | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-12-01
125. Bently Vidal | Bois Bois, Castle Comfort | main source | N/A | 2015-02-01 | DAQU Samil Power Co. | 3 | SINGLE | 50 | 230 | Solar | 0.37 | 346 | N/A | 180 | Roof mounted solar | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2015-01-01
126. Jolly's Pharmacy | Great George Street, Roseau | main source | N/A | 2014-12-01 | DAQU Samil Power Co. | 16 | 3 phase | 50 | 230/400 | Solar | 0.36 | 1828 | N/A | 180 | Roof mounted solar pv | N/A | N/A | N/A | N/A | N/A | N/A | yes | 2014-12-01
127. Frankie D. Williams | Salisbury | supplementary | N/A | 2015-02-01 | Mass Power | 0.3kw | SINGLE | 50 | 230 | solar |  | 50 | N/A | 200 | on roof top | N/A | N/A | N/A |  | N/A | N/A | yes | 2015-03-01
128. Restaurant Concepts | Ross University Campus |  |  | 2015-03-01 | DAQo Model | 33kw | 3 phase | 50 | 420 | solar | 0.39 | 3564 |  | 200 | Roof mounted | N/A | N/A | N/A | N/A | N/A | None | Yes | 2015-05-01
129.Rosalie Bay Nature Resorts | Rosalie | Standby |  |  | F. G Wilson | 220 | 3 phase | 50 | 220 | Deisel | 0.7 | 12 | 16.5 | 12 | concrete building | steel tank |  | recycled |  |  |  |  | 2015-07-01
130.Rosalie Bay Nature Resort | Rosalie |  |  | 2008-07-01 | Norwin | 225 | 3 phase | 50 | 400V | WIND | 0.372 | 40000 | 100,000kwh | 720 | 125 ft tower | N/A | N/A | recycled | N/A | N/A |  |  | 2015-07-01
131. Blaize Carroz | Beau Bois, Castle Comfort |  |  | 2009-02-01 | Solar Watt (Germany) | 9.8 | SINGLE | 50 | 230v | Solar |  |  | 700KwH | [9 empty] | 2015-07-01
132. Reginald Armour | Eden-on-sea, Wesley | standby |  | 2010-01-01 | Petter | 20 | SINGLE | 50 | 20 | Deisel |  |  |  |  | In workshop | purchased when required |  | On Estate |  |  | N/A |  | 2015-07-01